#### Mini-GBIC FEATURES (TEG-MGBSX, TEG-MGBS10, TEW-MGBS30, TEW-MGBS50, TEW-MGBS70)

- Compliant with IEEE 802.3z Gigabit Ethernet and Fiber Channel Standards

- Industry standard SFP package

- Duplex LC connector

- UP to 2.125Gbps Bi-Directional Data Links

- Die Cast Metal Housing for low EMI

- Hot Pluggable

- Class 1 Laser product complies with EN 60825-1

GBIC FEATURES (TEG-GBSX, TEG-GBS10, TEG-GBS50)

  - Compliant with Gigabit Interface Converter, Fiber Channel and SONET/SDH

  - Industry Standard GBIC package

  - Duplex SC connector

  - Up to 1.25Gbps Bi-Directional Data Links

  - Full Metallic Enclosure for low EMI

  - Hot Pluggable

  - Class 1 Laser product complies with En 60825-1

#### TREND SPEC’S

| Model Name | Wavelength | Media | Pout (dBm) | Sensitivity | Power | Distance |
| --- | --- | --- | --- | --- | --- | --- |
| TEG-MGBSX | 850nm | MMF | -9.5 ~ 0.0 | -18 | 8.5 | 550m |
| TEG-MGBS10 | 1310nm | SMF | -9.5 ~ -3.0 | -20 | 10.5 | 10km |
| TEG-MGBS30 | 1310nm | SMF | ~4.0 ~ +3.0 | -25 | 19 | 30Km |
| TEG-MGBS50 | 1550nm | SMF | -4.0 ~ +1.0 | -25 | 19 | 50km |
| TEG-MGBS70 | 1550nm | SMF | -1.0 ~ +4.0 | -26 | 23 | 70km |
| TEG-GBSX | 850nm | MMF | -9.5 ~ -4.0 | -18 | 8 | 550m |
| TEG-GBS10 | 1310nm | SMF | -9.5 ~ -3.0 | -20 | 10.5 | 10km |
| TEG-GBS50 | 1550nm | SMF | -4.0 ~ +1.0 | -23 | 19 | 50km |

MMF: Multi-Mode Fiber	SMF: Single Mode Fiber

#### Application l

- Switch to Switch Interface

- High Speed I/O for File Server

- Channel Extender, Data Storage

- 5-Year Warranty

To order please call: 888-326-6061

3135 Kashiwa Street • Torrance, CA 90505 • (310) 891-1100 • Fax: (310) 891-1111

Tech Support Hotline: 1-310-626-6252

## Sales: sales@trendware.com • Support: techsupport@trendware.com

Official Site: www.TRENDnet.com

# Text boxes

TEG-MGBS10

TEG-MGBSX

TEG-GBSX

TEG-GBS10