#### Features

- Supports up to 10 TFC-210 or TFC-2000 series fiber converters

- Single Internal cooling fans

- Diagnostic LED

- Plug & Play; Hot-Swappable

- Standard 19” rack-mount design (3U)

- 5-year Warranty

#### Specifications

| Hardware |
| --- |
| Interface | 10-Bay of Housing for up to 10 TFC-210 or TFC-2000 Series Fiber Converter |
| Diagnostic LED | Power |
| Power | 100 ~ 240 VAC, 50/60Hz, Internal Power Supply |
| Power Consumption | 90 Watts |
| Dimensions | 440 x 266 x 133mm (17.32 x 10.47 x 5.24in) |
| Weight | 6.4kg (14.2 lb) |
| Temperature | Operating : 0( C ~ 45( C (32( F ~ 113( F) Storage : -40( C ~ 70( C (-40(F ~ 158( F) |
| Humidity | 5% ~ 90% RH |
| Certification | CE, FCC |

Packaging Content						Related Product

- TFC-1000 Fiber Chassis					- TFC-210MSC/210MST

- Multi-Language Quick Installation Guide			- TFC-210S30

- Power Cord							- TFC-210S20D3/D5

- Mounting Brackets						- TFC-2000MSC

- Rack Mount Kit 						- TFC-2000S20/S50

- TFC-2000S10D3/D5

To order please call: 888-326-6061 • Sales: sales@trendnet.com 
Support: support@trendnet.com • Tech Support Hotline: (866)845-3673

www.trendnet.com

# Text boxes

TFC-1000 (v1.0R)

_

10-Bay Fiber Chassis

This 10-Bay Fiber chassis provides housing for up to 10 fiber converters.  Designed for the TFC-210 and TFC-2000 series fiber converters, the chassis is equipped with a cooling fan and built-in power supply.   This fiber chassis allows you to organize multiple fiber converters to a single device.