TK-802R

8-port

Keyboard-Video-mouse

Switch

W/ OSD, front-panel button & kb Hotkey control

Stackable

Ps/2 type

19” rack-mount

User’s Guide

Rev. 1.0

April 10th, 2003

Copyright and trademarks

Copyright © 2003 All rights reserved

All trademarks in this manual are the property of their respective trademark owners.

Disclaimer

This User Guide fully explains the installation and use of TK-802R Stackable Rack-Mount KVM Switch. Since every precaution has been taken to prepare and write this manual, we assumes no responsibility for errors or omissions contained therein, nor any liability for damages resulting from the use of the information in it. Specifications and functions may be changed without prior notice

Icon convention used in this User Guide

This brightened light bulb indicates some useful hints you should know before proceed with following instructions.

This lightning bolt indicates warnings you should take special precautions against.

Table of Contents

Table of Contents	3

List of Figures	5

List of Tables	5

1. Features and functions	6

1.1. Features	7

General features	7

Connector Interface	7

LED display for status monitoring	7

Control features	7

Security	7

Stacking Application	7

Hardware/Software Support	8

Power interface	8

Cabling requirements	8

1.2. Package Contents	8

1.3. External Views	9

1.3.1. Front View	9

1.3.1.1. Front-panel Buttons	9

1.3.1.2. Numerical LED Displays and Indicators	9

1.3.2. Rear View	9

1.3.2.1. Power Jack	10

1.3.2.2. Console Port	10

1.3.2.3. PC Port	10

1.3.2.4. Daisy Chain Port	10

1.4. KVM Switch Technology Overview	11

2. Installation	12

2.1. Checklist before Installation	12

2.2. Mounting the KVM Switch	13

2.3. Connect Your PCs to Single KVM Switch	13

2.4. Connect Your PCs to Multiple Daisy-chained KVM Switches	14

2.5. Initialize your KVM Switch	16

2.5.1. Reset without disconnecting or powering down your computers	16

3. Operation	17

3.1. Control Interfaces	17

3.1.1. Front-panel Buttons	17

3.1.2. Keyboard Hotkeys	17

3.1.3. On Screen Display	19

3.1.4. OSD Navigation	20

3.1.5. OSD Option Selection	20

3.1.6. Edit the OSD Option Parameter	20

3.2. Operate the Switch	21

<Select PC>	21

<Next lower channel>	22

<Next Higher Channel>	22

<Next Lower Bank>  (when daisy-chained)	22

<Next Higher Bank> (when daisy-chained)	23

<Autoscan Beep Sound On/Off>	23

<Reflash EEPROM>	23

<Find PC by Name>	24

<Change PC Name>	25

<Reset KVM>	25

<Show OSD Menu>	25

<Autoscan>	25

<Autoscan Delay Time>	26

<OSD Remain Time>	26

<Password Configuration>	26

<Password Change>	27

Appendix A Technical Specifications	28

Appendix B System & Cable Requirements	30

Appendix C Troubleshooting	31

List of Figures

Figure 1-1  TK-802R	8

Figure 1-2 TK-802R Front Panel	9

Figure 1-3 TK-802R Rear Panel	9

Figure 2-1 The 3-1 combo KVM cable is highly recommended	12

Figure 2-2 Daisy-chaining multiple KVM Switches in a cascaded application	14

Figure 3-1  OSD Menu	19

Figure 3-2 Find PC by name searching	24

Figure 3-3 Bank number, Port Number and PC Name as shown on the OSD	24

List of Tables

Table 3-1  Summary for Hotkey Sequences	18

Table B-1  Necessary accessories for the KVM Switches	30

Table B-2  The Standard 3-in-1 Keyboard-Video-Mouse Combo Cable	30

- Features and functions

The TK-802R KVM Switch is an 8-port Stackable PS/2 type KVM Switch with OSD control. It enables the network administrator to access, control, boot and reboot multiple connected computers using only one keyboard, monitor and mouse.

Remote computer/server management from one keyboard, monitor and mouse

The TK-802R KVM Switch is a quality product designed for secure remote computer/server management on a centralized single admin desk in corporate, factory as well as in campus computing environment. It features a console port to connect your shared keyboard, video and mouse, and 8 PC ports to connect to your computers/servers. You can simply place it on desktop or mount it on a standard 19” rack for more secured and centralized management. This KVM Switch features a metal enclosure for better shielding against electromagnetic interference commonly seen in lab or factory floor environment.

Easy Operation by front-panel buttons, keyboard hotkeys and OSD Menu controls

The KVM Switch can be easily operated using either front-panel buttons, keyboard “hotkey” combinations, as well as OSD Menu. These available control interfaces yield more convenient and more effective operation over your daily network managing routines and hence more productivity for network administrator.

Flexible port capacity through multiple daisy-chained KVM Switches

In addition to the choice over the 8-port capacity of each individual unit, users can also take advantage of its Stackable function to daisy-chain up to 16 units of the KVM Switches together. For example, with 16 units of the TK-802R KVM Switches stacking (daisy-chain) together, the total port capacity is 128 .  You can also vary port capacity by daisy-chaining multiple units in different combination according to your needs.

Saving Time, Space and Money with more productivity

The KVM Switches offer special advantages saving time, space and money plus a significant boost over productivity of the network administrative staff. With our KVM Switches, you eliminate the need for a separate set of peripherals for each of your computers. With the number of servers running higher than ever in the corporate network, using KVM Switch will result a huge saving on money.  The KVM users will also appreciate more space on desktop or working bench that is free from multiple keyboards, monitors and mice.  On the other hand, the net admin can save lots of time not to shift around separate sets of keyboard and mouse, just to keep up with the network management routines. Hence, the KVM Switch could be a tremendous help in facilitating a better and more efficient work environment for network administration, and an indispensable productivity tool that will definitely favored by the tech-savvy people.

Features

General features

- 8-port Stackable PS/2 type KVM Switch with OSD Menu control

- Robust metal housing design ensures best EMI shielding and superb video quality

- Standard 19” rack mount size

- Cost-effective remote workstation/server management solution for corporate, factory and campus computing environment

- Very high video resolution up to 1920 ( 1440 with superb video transfer quality and low distortion at 200 MHz video bandwidth

- Buzzer sound for switching port confirmation

- User-specified parameters are saved within EEPROM memory, hence no need for user parameter reconfiguration after Switch system reboot.

Connector Interface

- PS/2 Keyboard and mouse connector interface

- 15-pin HDB video connector interface

LED display for status monitoring

- Front–panel numerical LED display for bank number

- Front-panel port status LEDs for easy and instant port status monitoring

Control features

- Control multiple PCs from a single set of keyboard, monitor and mouse

- Front-panel buttons for instant channel selection

- Reset and Auto-Scan activated by using the channel selection button and hotkey

- Keyboard “hotkey” combination for quick operation commands

- OSD Menu options for more convenient menu-driven control

- Channel selection by front-panel buttons, keyboard hotkeys and OSD Menu

- Search the presence of a connected PC by its name

Security

- Password security prevents unauthorized users operating the Switch

- Provide 8-character password protection.

Stacking Application

- Auto-detect daisy-chain configuration

- Stackable up to 16 units in daisy-chained configuration

- Port capacity easily scalable up to a maximum of 128 PCs using multiple Switch units

- Numerical LED display(s) to indicate the bank number of the currently active channel

Hardware/Software Support

- Support a wide range of hardware in addition to the standard keyboard, monitor and mouse

- Support Microsoft IntelliMouse®, IntelliMouse Explorer®, Logitech NetMouse® , other common wheel mouse, optical mouse, and cordless mouse

- Support a wide range of software platforms: DOS, Windows 3.x, Windows 95/98/SE/2000/ME/XP, Windows NT, Netware, OS2, Unix, Linux and BSD

- Hot-plugging of PCs for maintenance without powering down the KVM Switch or PC.

Power interface

- Powered by the external power adapter connected to the AC power outlet in addition to the PS/2 keyboard/mouse interface power

Cabling requirements

- Compatible with standard individual keyboard, video, and mouse cable (male-to-male)

- Highly recommended: using the 3-in-1 combination KVM cable from TRENDware

Package Contents

The TK-802R KVM Switch Package should contain the following items:

- TK-802R KVM Switch

- Power adapter (AC to DC)

- Rack Mount Kit

#### Daisy Chain Cable (3-in-1 KVM combo cable)

- User Guide

- Quick Installation Guide / Quick Reference Sheet

Figure 1-1 TK-802R

External Views

The following sections will give detailed descriptions of the front-panel and rear panel of the TK-802R KVM Switch.

Front View

Figure 1-2 TK-802R Front Panel

Front-panel Buttons

Use these front-panel buttons to directly select channel (PC) as well as to perform “Switch reset” or “auto-scan”.

Numerical LED Displays and Comprehensive LED Indicators

The Numerical LED display and LED indicators on the front-panel show forth the information of your Switch’s bank number and port status. The current active Switch bank will display on the Numerical LED Display while the Port Status is indicated by a set of two Port Status LED indicators - one red and one green. The red LED is lit when the computer is connected to the KVM Switch and feeding power through the PS/2 keyboard and mouse interface. The green LED is lit when the computer is currently selected as the active channel to be controlled with the shared keyboard and mouse.

Note that a red-lit LED means only that the specific port is connected and being powered through its PS/2 interface. It does not indicate whether that connected computer is in powered-on or powered-off state.

Note that a green-lit LED means only that the specific port is selected to be the active channel. It does not indicate whether that connected computer is in powered-on or powered-off sate.

Thus the red indicator shows the current connected state of the specific port.

The green LED indicator indicates the currently active channel.

When the Switch is in a “locked mode” (also known as “password protected mode”), the green LED of the active channel will be flashing to indicate this locked state.  Also, all front-panel button operations will be disabled when the Switch is in locked state.

Rear View

Figure 1-3 TK-802R Rear Panel

Power Jack

The power jack is a receptacle for the 9V 1A DC power adapter. Its center pin is the positive polarity.

Console Port

The console port is where you connect your shared keyboard, monitor, and mouse.

PC Port

The PC port is where you connect your computer’s keyboard, video and mouse cable (or a 3-in-1 combination cable).

Daisy Chain Port

The daisy-chain port is where you daisy-chain to another Switch (console port)  for stacking multiple KVM Switch units.

KVM Switch Technology Overview

The KVM Switch is a hardware-based device that allows you to control multiple computers/servers using only one Keyboard, Video and Mouse, hence the name of the KVM Switch.

The distinction between a KVM Switch solution and any other software/hardware measures for the same control purpose is that: the KVM Switch exerts its control and operation on the connected computers only by the shared keyboard, video and mouse. It is more efficient and more versatile as being capable of control from BIOS level up to the GUI applications.

Not only can a KVM Switch save you money by eliminating the needs for multiple sets of keyboard, video and mouse, but also save you space from desktop, factory floor or office, and finally it saves you precious time that used to be spent in moving between different desktops, server rooms or even buildings. And the result is huge savings on many aspects plus a productivity boost.

Since KVM Switch is a hardware device, it offers a transparency of control that will not interfere with the way a computer can be operated by and interacts with its user. As compared to other hardware/software solution for remote control, it takes an intrusive agent that will interfere with certain aspect of the computer or, at best, functions as well but eat up a considerable system resources or even large share of computing power, not to mention the extra costs which can be really expensive sometimes as the Enterprise Management Software. Therefore, the KVM Switch solution is better in this “transparent” sense for server/computer remote control.

On the other hand, a KVM Switch also offers a complete and more flexile control than other software/hardware solutions: a KVM Switch offers a total control from BIOS level such as CMOS setting up to GUI application as well as and other maintenance routines.

So obvious is the advantage of using KVM Switch in an environment that requires users to control more than one computer. We can see the KVM Switch being deployed in many diverse applications and locations, whether it is SOHO, corporate or factory environment. And the professionals who use and come to appreciate the convenience and elegance of the KVM Switch range from SOHO workers, graphic artists, and network administrators to lab workers, floor supervisors and lab testing personnel, etc.

Installation

Before installing the KVM Switch, you should run through the following checklist to ensure a proper setup of your KVM Switch….

Checklist for the Installation

- Suitable cables to connect the KVM Switch to the keyboard, video and mouse ports of each of your PC. For each computer connected, you should have PS/2 mouse cable (male) , PS/2 keyboard cable (male), and a HDB-15 VGA cable (male). A 3-in-1 combo cable is highly recommended for your convenience.  For more information on the cable specifications, please refer to Appendix A.

- A monitor with a standard D-sub 15-pin VGA/SVGA connector (HDB-15), which  works with your PC.

- A standard PS/2 style keyboard. If you are using an AT keyboard with a 5 pin connector you should use a standard AT-to-PS/2 keyboard adapter (not included) to connect to the KVM Switch.

- A PS/2 style Microsoft or Logitech compatible mouse or 
a Microsoft IntelliMouse® / IntelliMouse Explorer® compatible mouse

Figure 2-1 The 3-1 combo KVM cable (male-to-male) is highly recommended

Mounting the KVM Switch

The KVM Switch can be mounted either on desktop or on a standard 19” rack.

To adapt to different port capacity requirements, you can use the KVM Switch either in single unit configuration or in multiple cascaded application. If you intend to use cascade KVM Switches, please jump to Section 2.4.

Connect Your PCs to Single KVM Switch

Before connecting any PC or peripherals to your KVM Switch, make sure that the power adapter is disconnected from your KVM Switch and all PC or peripherals that are going to be attached to the KVM Switch should be turned off. If you did not turn off your PCs while connecting to the KVM Switch, the shared keyboard and mouse will not be recognized.

Step 1. Make sure your KVM Switch, your PCs and peripherals are powered off. If not, turn the power off for the KVM Switch, PCs and peripherals.

Step 2. Connect the shared keyboard, PS/2 mouse and monitor to the console connectors on the rear of the KVM Switch.

Step 3. Connect the power adapter to the KVM Switch and power outlet to power it on.

Step 4. Connect each computer system (still in powered-off state) to the KVM Switch’s Computer ports either with the individual keyboard cable, mouse cable and video cable, or the 3-in-1 keyboard/video/mouse combination cables, and then power on each computer

The KVM Switch has to be turned on and properly connected to your PCs prior to  booting up any PC.  Please follow the correct boot-up sequence. The reason is that: while your PC is booting up, it has to communicate with your keyboard and mouse and consequently gets response from them. If your KVM Switch has not been running and connected to your PC, your PC might have difficulty recognizing the keyboard and the mouse.  On the other hand, your KVM Switch also has to be present to keep track of all the modes and parameters requested by the OS running on each connected PC.

If your computers are with serial mouse connections and AT style keyboard connections, you should use the AT-to-PS/2 adapters specified in appendix C  Cable Diagrams.  Note that even if you have an existing 6-pin mini-DIN to 9-pin serial adapter that came with your serial mouse, it might not work with the KVM Switch ( it might have a different wiring configuration).

The cable distance from your keyboard, video and mouse to your PC should be within 25 feet (or 7.6 meters) as to ensure signal quality and proper transmission. If you want to extend the distance, use of a KVM Cat. 5 Extender.

Now the KVM Switch is ready to operate as soon as you turn on any of the attached computers.

Connect Your PCs to Multiple Daisy-chained KVM Switches

If you use only a single KVM Switch and hence have no need for cascaded application of multiple KVM Switch units, please skip this section.

To add port capacity, multiple TK-802R KVM Switches can be cascaded in a daisy-chain configuration to maximize the number of connected computers up to a total of 128 computers (with 16 units of TK-802R KVM Switches). This cascaded application is obviously advantageous when groups of computers are dispersed and with some considerable distance from each other. Each cascaded KVM can be away from the next KVM Switch up to 30 meters (dependent on the cable type), thus expanding the applicable distance of only one single KVM Switch yet with the convenience of centralized control by one master KVM unit. Control commands can then be extended to groups of computers on the master KVM Switch on remote end through this daisy-chain connection.

The KVM Switch units that are to be daisy-chained must belong to the same product series.

Figure 2-2 Daisy-chaining multiple KVM Switches in a stacking application

Before connecting any PC or peripherals to your KVM Switch, make sure that the power adapter is disconnected from your KVM Switch and all PC or peripherals to be attached to the KVM Switch should be turned off, too. If your PCs are not turned off while connecting to the KVM Switch, the shared keyboard and mouse won’t be recognized correctly.

Your multiple daisy-chained KVM Switches have to be set up and running before you can connect any PC or peripheral to any KVM Switch.

Daisy-chain Multiple KVM Switches

Step 1. Make sure your KVM Switch, your PCs and peripherals are powered off. If not, turn the power off for the KVM Switch, PCs and peripherals.

Step 2. Connect the shared keyboard, PS/2 mouse and monitor to the console connectors on the rear of the master (first) KVM Switch.

Step 3. Connect the power adapter to power on the master KVM Switch.

Step 4. Use a daisy-chain cable to connect the daisy-chain port (labeled daisy-chain in) of the master Switch to the “console port” of the second Switch. Then connect the power to power on the second KVM Switch.

Step 5. If there is a third KVM Switch to be daisy-chained, just repeat step 4 to connect the daisy-chain port of the second Switch to the console port of the third KVM Switch. Likewise, follow the same connection principle if there is still more KVM Switch(es) to join in the daisy-chain.

Step 6. After you have set up and powered up the daisy-chain connection of multiple KVM Switches, you have to perform a first-time initialization for all the Switches either by (1) pressing and holding down Button 1 on the master Switch for at least 3 seconds, or (2) using the hotkey sequence: Scroll Lock, Scroll Lock, End for daisy-chain initialization.

DO NOT PRESS Button 1 on any slave Switch since this will initialize only the Switches “downstream” from this slave Switch.

You can daisy-chain a total of up to 16 units of KVM Switches, and command up to 128 computers.

Connect your computers to multiple daisy-chained KVM Switches

Now your multiple daisy-chained KVM Switches should all be powered on and initialized.

Step 7. Connect each computer system (still in powered-off state) either with the individual keyboard cable, mouse cable and video cable, or the 3-in-1 keyboard/video/mouse combination cable, and then power on each computer.

The KVM Switch(es) has to be powered up and properly connected to your PCs prior to booting up any PC.  Please follow the correct boot-up sequence. The reason is that: while your PC is booting up, it has to communicate with your keyboard and mouse and consequently gets response from them. If your KVM Switch has not been running and connected to your PC, your PC might have difficulty recognizing your keyboard and mouse, even if you turn on the KVM Switch later on. On the other hand, your KVM Switch also has to be present to keep track of all the modes and parameters requested by the OS running on each connected PC.

Now the KVM Switches are ready to operate as soon as you turn on any of the connected computer.

Initialize your KVM Switch

Reset without disconnecting or powering down your computers

The KVM Switch can be reset without disconnecting or powering down your computers either by (1) pressing down Button 1 on the front panel for 2 seconds, or by (2) the hotkey sequence ScrLk , ScrLk , End.  Note that each keystroke should be followed by its next keystroke within a delay of no more than 2 seconds.

Note that, after you have set up a daisy-chain of cascaded KVM Switches, and you want to initialize this daisy-chain of multiple cascaded KVM Switches for the first time, you should perform the reset on the first (master) Switch (that is, the first bank) to initialize.  Also remember to turn on all the other Switches on the daisy-chain.  The reason is that the first (master) Switch will send message to the slave units.  If the slave units are not there to receive/respond to this reset message, system errors will occur.

If a reset is successfully performed, you should see the Switch bank number (which is default to 01 if you are using a single KVM Switch, but if you are using multiple KVM Switches in a cascaded application, you should have different Switch bank number) being displayed on the numerical LED display.

Operation

This chapter provides general guidelines for the KVM Switch operations. Before you begin operation of the KVM Switch, it is strongly recommended that you read this chapter in advance.

Control Interfaces

There are three ways to operate your TK-802R KVM Switch: Front-panel buttons, keyboard hotkeys and OSD Menu options. The operation details of these three control methods are detailed as follows:

Front-panel Buttons

The front panel push buttons are used to directly select the active channel (PC) that is connected to the KVM Switch. Pressing the key during normal operation will cause the corresponding channel to be selected.

The first button (from left) also serves as a reset/initialization button when you press and hold it down for over 3 seconds.

The last button, when pressed and held down for over 3 seconds, activates the auto-scan function.

For reset, you could also use the hotkey sequence: ScrLk , ScrLk , End.

Keyboard Hotkeys

Some network professionals prefer hotkey controls as the most convenient and quickest way to operate the KVM Switch. Most of the hotkey control commands are preceded by two consecutive Scroll Lock keystrokes (done within 2 seconds), and then followed by specific command key or key sequence:

Hotkey control command = ScrLk , ScrLk , Command key (sequence)

In most cases, it will take at least three keystrokes to complete a command. In certain cases, it will need 5 strokes (such as in selecting specific bank and port number for active channel) to complete the command.

All the available hotkey commands are summarized in the following table for your convenience.

For hotkey command, you should use the number keys on the upper row of the keyboard instead of the keys on the number pad.

| Command | Hotkeys | Reference |
| --- | --- | --- |
| Select PC | ScrLk , ScrLk , x (bank no.) , yz (channel no.) | See Page 21 |
| Next lower channel | ScrLk , ScrLk , ↑ (arrow up) | See Page 22 |
| Next higher channel | ScrLk , ScrLk , ↓ (arrow down) | See Page 22 |
| Next lower bank | ScrLk , ScrLk , PgUp | See Page 22 |
| Next higher bank | ScrLk , ScrLk , PgDn | See Page 23 |
| Auto-scan Beep Sound On/Off | ScrLk , ScrLk , B | See Page 23 |
| Reflash EEPROM | ScrLk , ScrLk , R | See Page 23 |
| Find PC by Name | ScrLk , ScrLk , F | See Page 24 |
| Change PC Name | -- | See Page 25 |
| Reset KVM | ScrLk , ScrLk , End | See Page 25 |
| Show OSD Menu | ScrLk , ScrLk , Space Bar | See Page 25 |
| Autoscan | ScrLk , ScrLk , S | See Page 25 |
| Stop Auto-scan | Esc | See Page 25 |
| Auto-scan Delay Time | -- | See Page 26 |
| Password Config | -- | See Page 26 |
| Password Change | -- | See Page 27 |

Notes:

1 Note that x = number 01 ~ 16). Yz = number 01 ~ 08

Table 3-1 Summary for Hotkey Sequences

On Screen Display

Note that when OSD is activated, all the front-panel buttons are deactivated.

To activate the OSD Menu, use the hotkey sequence

Show OSD Menu     =

OSD (On Screen Display) is a menu that is superimposed on your screen. On the OSD Menu, you will have a listing of the available banks and channels for selection and the currently online status of each channel. You can use it to control the KVM Switch with more convenient and intuitive menu-driven operation. The OSD menu also allows you to rename your computer (up to 9 characters), and to find the specific computer by its name. It also allows you to password-protect your KVM Switch system.

Figure 3-1 OSD Menu

As you can see on the OSD menu, the computer name that is followed by a little solar symbol, , indicates that it is currently connected to the KVM Switch and thus feeding power through its PS/2 interface to the KVM Switch. Others that are not seen with a little solar symbol after them are currently not connected.

The computer name that is inversely illuminated by a magenta background color indicates that it is currently active and you can operate it by using the shared keyboard and mouse.

The OSD options that are followed by a rightward arrow  indicate that there is at least another level of submenu.

OSD Navigation

Use the left ←, right →, up ↑, and down↓ arrow keys to navigate.

Use “Enter” key to select and “Insert” key to edit.

On the bottom part of the OSD menu, there are some OSD operation tips for your reference.

OSD Option Selection

After you have navigated to an item, just hit the Enter key to select it  or hit the Insert key to edit this item (e.g. change name or input numbers).

Edit the OSD Option Parameter

After you have selected the item (with the Enter key), you can begin edit the option parameters.

If the computer name is highlighted, hitting the enter key will switch the control to this computer. To edit the computer name, highlight the name and hit “Insert” key. In default, the computer name is “System 01 ~ System 08”.

Operate the Switch

The following will describe each command operation of the KVM Switch and available ways to execute the commands, either by a front-panel button, a keyboard hotkey sequence or an OSD Menu option.

<Select PC>

Front-Panel Button

Press the corresponding button on the specific Switch, to which the channel you want to select is connected.

Hotkey

Select PC         =

For example, when with single KVM Switch configuration, if you want to select port 8, then you should press the following keystrokes:

Select PC  =

Since the single KVM Switch bank number is default to 1 (i.e. itself a master KVM Switch on its own), there fore you should always specified its bank number by “01”. Thus, when with daisy-chained multiple KVM Switch, if you want to select bank 3, port 7, then you should press ScrLk , ScrLk ,  0, 3 , 0 , 7.

OSD

To activate the OSD Menu, hit ScrLk , ScrLk , Space Bar.  While the OSD Menu is active, use the arroe keys to navigate to the channel you want and then hit Enter to select it.

In a daisy-chained configuration, you may want to select specific channel on a specific bank (when you have daisy-chained multiple KVM Switch units), just use the Page up/Page Down key for bank selection and navigate the OSD Menu by arrow keys to the channel you want to select and hit Enter to make it your active channel.

<Next lower channel>

Front Panel Button

Press the corresponding port button.

Hotkeys

Next lower channel   =

OSD

Select the corresponding OSD Menu option.

<Next Higher Channel>

Front Panel Button

Press the corresponding port button.

Hotkeys

Next higher channel   =

OSD

Select the corresponding OSD Menu option.

<Next Lower Bank>  (when daisy-chained)

Front Panel Button

Press the corresponding port button.

Hotkeys

Previous bank   =

OSD

While the OSD is activated on the console screen, press the Page Up key to rotate through the bank selections.

<Next Higher Bank> (when daisy-chained)

Front Panel Button

Press the corresponding port button.

Hotkeys

Next bank          =

OSD

While the OSD is activated on the console screen, press the Page Down key to rotate through the bank selection.

<Auto-scan Beep Sound On/Off>

While Auto-scanning, a beep sound will serve to confirm channel switching. If you want to turn off this beeping, then try the following hotkey sequence.

Hotkey

Beep sound on/off  =

<Reflash EEPROM>

While you can freely change the computer names, auto-scan time, and password; there might be times when you want to restore the Switch to its default factory settings. If this is the case, you can always press the hotkey sequence for an EEPROM Reflash.

Note that Reflash EEPROM will not affect your password setting.

Hotkey

Reflash EEPROM  =

As soon as the hotkey sequence is executed, the following OSD screen dialog appears to prompt you for a confirmation. Press Enter to confirm the EEPROM Reflash directive. Hit “Esc” key for not performing the EEPROM Reflash.

Please note that  there is no option on the OSD Main Menu to evoke the OSD Reflash function.

<Find PC by Name>

Hotkey

Find PC by name  =

With the number of connected computers growing, it might be convenient for you to specify the computer name and let the KVM Switch find it for you in an instant.

As soon as the hotkey sequence is executed, the following OSD screen dialog appears to prompt you for a confirmation. Press Enter and then begin to key in the computer name (up to 9 characters) and then hit Enter again for a quick search.

Figure 3-2 Find PC by name searching

After the specified PC name has been found, you can see the PC name and the bank number and port number it currently resides.

Figure 3-3 Bank number, Port Number and PC Name as shown on the OSD

After the search comes out, we can see the bank number (1st and 2nd digits), port number (3rd and 4th digits) and the PC name are displayed in an alphanumeric string such as in the above figure. If there is more than one name match the search, use the Up/Down Arrow key to display other search results.

Note that, except the hotkey sequence ScrLk , ScrLk , F, there is no option on the OSD Main Menu to evoke the Find PC by Name function.

<Change PC Name>

OSD

Navigate to the PC Name you desire to change, and then press Insert key for entering a new PC name. When done, press Enter to validate the new name.

<Reset KVM>

Front Panel Button

Press and hold down button 1 for at least 3 seconds.

Hotkeys

Reset KVM        =

If password protection is enabled, after resetting the Switch, you will need to enter the correct password to operate the KVM Switch.

<Show OSD Menu>

Hotkey

Show OSD Menu     =

<Autoscan>

Front-panel button

Press and hold down the last button for at least 3 seconds.

Hotkey

Auto-scan        =

The auto-scan function automatically scans through each connected channel and stay for a specific time period that is programmable by user (5 ~ 99 seconds). The purpose of auto-scan is to provide you with a quick browsing of the status of each connected channels without tedious manual switching through the channels.

TO STOP Auto-scanning, just press any button on the front panel or hit the “Esc” key on the keyboard.

<Auto-scan Delay Time>

OSD

Use arrow keys to navigate to the SCAN option on the OSD Menu, and then hit Enter to select and input the desired auto scan delay time. The Auto-scan Delay Time is default to 10 seconds.

The auto-scan delay time could be specified within the range of 5 seconds to 99 seconds by an increment of 1 second.

<OSD Remain Time>

OSD

Use cursor keys to navigate to the OSD option on the OSD Menu, and then hit Enter to select and input the OSD Remain time. The OSD Remain Time is default to 10 seconds.

The OSD time can be specified within the range of 5 seconds to 99 seconds by an increment of 1 second. After the OSD menu is activated, if there is no activity within the preset OSD Remain Time, the OSD Menu will disappear.

<Password Configuration>

OSD

Navigate with cursor keys downward to the PWD CONFIG option and then hit Enter key to select. Just follow the submenu to Enable or Disable the Password Protection. Every time you want to change the password configuration, you will be prompted for the password. You have to type in the correct password to validate the change. The password is up to 8 characters long and is default to 00000000 (8 zeros). You can change the default password with your own by using the PWD CHANGE option.

<Password Change>

OSD

Navigate with arrow keys downward to the PWD CHANGE option and then hit Enter key to select. A Prompt will appear on screen to request for old password. Type in the old password and a new prompt will appear to request for your new password. Type in the new password and press Enter. Enter the password again and hit Enter for confirmation. The password length is up to 8 characters long.

Appendix A Technical Specifications

PC connections			8 PCs max per unit

Console connection		   	1 console

PC port connector			PS/2 keyboard Mini Din 6 pin

(All female type)			PS/2 Mouse Mini Din 6 pin

VGA HDB 15 pin

Daisy-chain port connectors	PS/2 keyboard Mini Din 6 pin

(All female type)			PS/2 Mouse Mini Din 6 pin

VGA HDB 15 pin

PC selection				On Screen Display Menu, Hotkeys, Push buttons

Numerical LED Display		1

LED indicators			16 LEDs  (Two LED indicators for each PC port)

On Screen Display Control		Yes

Scan delay time			5 – 99 seconds programmable

Keyboard emulation			PS2

Mouse emulation			PS2

Mouse Conversion 			Console PS/2 to each PC port serial mouse

(Only console port to PC port)

VGA Resolution			1920 ( 1440

Bandwidth				200 MHz

Maximum Daisy-Chain Level	16 levels

Maximum PC Connection		128

Housing				Metal

Power Adapter			DC 9V 1A

Operation Temperature		0 ~ 40°C

Storage Temperature		-20 ~ 60°C

Humidity				0 ~ 90% RH, non-condensing

Size					19” Rack Mount / 1 RU

Weight				2.2 kg

Dimension (mm) 			410 ( 165 ( 44.5 (L ( W ( H)

Safety / EMI				CE, FCC

Appendix B System & Cable Requirements

| Model No. | TK-802R |
| --- | --- |
| Console side (all male) | 1 x VGA Monitor 1 x PS/2 Keyboard 1 x PS/2 Mouse |
| Computer side (all male) | 8 × HDB 15 pin male-to-male VGA cable 8 × PS/2 male-to-male cable for keyboard 8 × PS/2 male-to-male cable for mouse or 8 x 3-in-1 KVM combo cable |

Table B-1 Necessary accessories for the KVM Switches

| Model No.-length | Interfaces | Cable Diagrams / Connectors |
| --- | --- | --- |
| CAB2002-1.2M CAB2002-1.8M CAB2002-3M CAB2002-5M | PS/2 KB PS/2 MS HDB-15 |  |

Table B-2 The Standard 3-in-1 Keyboard-Video-Mouse Male-to Male Combo Cable

Appendix C Troubleshooting

Keyboard and Mouse problems

Problem: Keyboard/mouse won’t move the cursor on the screen, or mouse movement becomes erratic or flips around.

Solution:

Check the following points to troubleshoot your keyboard/mouse problem:

- Verify that your keyboard/mouse and the computer are all properly connected to the KVM Switch.

- You have to first power up the KVM Switch before connecting to computers. If not, you have to reboot your computers.

- Make sure you have installed the proper mouse/keyboard driver on the computers for the type of your mouse/keyboard.

- After you have checked that all the above requirements for a proper keyboard/mouse connection is met, then reset your KVM Switch again by pressing the hotkey sequence: ScrLk , ScrLk , End. Check if the keyboard/mouse activities are recognized by your connected computer.

- If the above procedures fail to solve the problem, try to plug off and then plug on the Keyboard/Mouse cable to the console port of your KVM Switch.

- Also refrain from plugging the keyboard/mouse cable while the PC is still running. Once it comes unplugged, even if you plug back the connection again in short time, you might have to reboot your PC to resume the normal keyboard/mouse connectivity.

If you have checked all the above and still your mouse/keyboard does not work, please contact your local dealer or contact TRENDware for technical support.

# Text boxes

Within 2 seconds

S

ScrLk

ScrLk

port

number

(01 ~ 08)

bank

number

(01 ~ 16)

8

(y)

1

ScrLk

ScrLk

port

number

(01 ~ 08)

bank

number

(01 ~16)

(z)

0

(x)

ScrLk

ScrLk

(space bar)

ScrLk

ScrLk

End

ScrLk

ScrLk

F

ScrLk

ScrLk

R

ScrLk

ScrLk

B

ScrLk

ScrLk

Page

Down

ScrLk

ScrLk

Page

Up

ScrLk

ScrLk

ScrLk

ScrLk

ScrLk

ScrLk

ScrLk

ScrLk

(space bar)

0

Technical Support

TRENDware provides free technical support for customers worldwide for the duration of the product’s warranty period.

Technical Support via Telephone: 	+1-310-891-1100

Fax:			+1-310-891-1111

Technical Support via Internet:	Http://www.trendware.com

E-mail: support@trendware.com

Technical Support Hours:

7:00AM ~ 6:00PM, Monday ~ Friday, Pacific Standard Time (except holidays), USA.

0

After enabling the password protection, reset the KVM Switch (with hotkey or the push button), and you will need to enter the correct password to operate the KVM Switch.